DiaTwin: A Circadian-Aware, Clinician-in-the-Loop Platform for Personalised Insulin Dosing in Type 1 Diabetes

Ali Mohamed Mahmoud Attia, M.Sc Digital health recent graduate, Faculty European Campus Rottal-Inn, Deggendorf Institute of Technology, Pfarrkirchen, Germany, ali.attia@gmx.de

# Introduction

Over 8 million people with Type 1 Diabetes (T1D) worldwide rely on multiple daily injections (MDI) with insulin pens. Despite increasing CGM adoption, no affordable decision-support tool simultaneously integrates insulin pharmacodynamics, macronutrient-specific meal absorption, physical activity effects, and circadian variation in insulin sensitivity. Fixed insulin-to-carbohydrate ratios (ICR) and insulin sensitivity factors (ISF) prescribed by clinicians cannot adapt to these dynamics, producing chronic dosing errors, hypoglycaemia risk, and significant cognitive burden. This work presents DiaTwin, a modular digital health platform designed to address these gaps within a clinician-supervised framework.

# Methods

DiaTwin integrates four physiological layers into a single on-device dose recommendation: (1) camera-based meal recognition with gamma-distribution postprandial absorption curves for full macronutrient loads (CHO, protein, fat), referenced to the UVA/Padova GI subsystem; (2) insulin-on-board (IOB) and meal-on-board (MOB) tracking via analogue-specific PK/PD parameters per the AWMF S3 Guideline (2024); (3) a three-state ODE activity model producing real-time Activity-on-Board (AOB) and an 8-hour post-exercise ISF/ICR sensitivity correction; and (4) a circadian baseline anchor using per-2-hour ISF/ICR blocks derived from CGM calibration or finger-prick data. All recommendations are explainable and clinician-reviewable under a clinician-in-the-loop paradigm, with all meal-insulin-activity-outcome tuples logged for future reinforcement learning (RL) parameter refinement. The platform engine was pre-trained on and validated against the AZT1D dataset (25 T1D patients with CGM, bolus, and carbohydrate records, spanning both MDI and automated insulin delivery periods).

# Results

The platform demonstrated strong technical performance, ingesting 50,000 database entries in 0.88 seconds and sustaining stable operation across 4,738 real-data processing cycles. The modular architecture successfully integrated all four physiological subsystems into a single unified recommendation pipeline, with dose suggestions rounded to 0.1 U precision and a 0.5 U safety floor. Clinical expert review by a board-certified diabetologist confirmed the platform’s physiological plausibility and highlighted the significant unmet clinical need for integrating blood glucose, insulin dosage, physical activity, and nutritional data into a single decision-support application. The clinician further recognised the system’s learning architecture as valuable for both patient education and physician-informed decision making.

# Conclusion

DiaTwin demonstrates that circadian-aware, multi-context insulin dosing support is technically feasible for MDI users without requiring automated insulin delivery hardware. The platform provides a cost-accessible, equity-oriented, and ML-ready foundation for advancing personalised T1D pharmacotherapy. Future work will focus on a prospective pilot RCT (N=30, 6 months) validating circadian RL-driven adaptation against standard-of-care MDI therapy, with particular attention to time-in-range improvement and hypoglycaemia reduction in both high-resource and low-resource clinical settings.