NATIVE Diabetes Management Platform

Meal Blood Glucose Effect Model

Current Implementation + UVA/Padova Alignment Analysis

April 2026  |  Internal Technical Document  |  v1.0

# 1.  Overview

This document serves two purposes:

- Document the current NATIVE meal BG effect model — its architecture, algorithms, and parameters.

- Compare NATIVE to the UVA/Padova T1D Simulator (FDA-accepted reference model) and identify similarities, divergences, and an alignment roadmap.

The meal BG effect subsystem spans the following source files:

- meal-impact-curves.ts — piecewise absorption curve generator

- meal-pharmacodynamics.ts — gamma-distribution MOB / absorbed-fraction engine

- blood-glucose-estimation.ts — cumulative bank-balance model, net-effect integration

- cumulative-effects.ts — Phase-3 persist-at-100% wrapper

- timeline-generator.ts — 15-minute timeline synthesis for charts

- meal-impact.ts — carb-equivalent pipeline, unified impact entry point

# 2.  Current NATIVE Implementation

## 2.1  Architecture Overview

The model decomposes meal BG impact into three sequential stages:

- Carbohydrate Equivalents — map macronutrients to a single carb-equivalent load.

- Absorption Curve — translate the carb load through a time-parameterised shape function.

- Cumulative Bank Balance — accumulate absorbed-carb BG elevation since the daily reset and offset with insulin.

## 2.2  Carbohydrate Equivalents

The first step converts meal nutrition into a single scalar — total_carb_equiv — that drives all downstream calculations:

total_carb_equiv = carbs + protein × protein_factor + fat × fat_factor − fiber × 0.1

Default factors: protein_factor = 0.5 (gluconeogenesis contribution), fat_factor = 0.2 (delayed glycerol conversion), fiber_factor = 0.1 (net carb reduction).

When a meal contains multiple food items, absorption type is determined by a carb-weighted average of each item's individual absorption type.

## 2.3  Absorption Type Profiles

Five discrete absorption profiles are defined, each specifying onset, peak, plateau, and duration parameters:

| Type | Onset | Peak | Duration | Modifier | Description |
| --- | --- | --- | --- | --- | --- |
| very_fast | 5 min | 30 min | 2.0 h | 1.4× | Simple sugars, glucose |
| fast | 15 min | 60 min | 3.0 h | 1.2× | Refined carbohydrates |
| medium | 25 min | 90 min | 4.0 h | 1.0× | Mixed meals, whole grains |
| slow | 45 min | 150 min | 5.5 h | 0.8× | High fat/protein, fiber-rich |
| very_slow | 60 min | 210 min | 7.0 h | 0.6× | Very high fat/fiber content |

A patient-level absorption modifier (from absorption_modifiers in PatientConstants) scales the timing — faster digestion shifts onset and peak earlier, slower digestion extends them.

## 2.4  Piecewise Absorption Curve  (meal-impact-curves.ts / meal-impact.ts)

The BG impact over time is computed as a piecewise function in four phases:

### Phase 1 — Pre-onset  (0 → onset)

A minimal ramp representing early buccal/gastric absorption:

impact = totalCarbEquiv × 0.02 × (t / onset)

### Phase 2 — Rising  (onset → peak)

A blend of sigmoid and cosine functions for smooth, physiologically realistic rise:

σ(x) = 1 / (1 + exp(−riseShape × 4 × (x − 0.5)))

cos_smooth = 0.5 × (1 − cos(π × x))

impact = totalCarbEquiv × (0.7 × σ(x) + 0.3 × cos_smooth)

### Phase 3 — Plateau  (peak → plateauEnd)

A slight natural decline with sinusoidal micro-variation, representing sustained peak absorption:

impact = totalCarbEquiv × (0.95 − 0.05 × t_fraction) × (1 + 0.05 × sin(2π × t_fraction))

### Phase 4 — Falling  (plateauEnd → duration)

A dual exponential decay. Fast foods use a single primary decay; slower foods blend primary and secondary (extended fat/protein tail):

primary   = exp(−fallShape × t_norm)

secondary = exp(−fallShape × 0.3 × t_norm)

combined  = 0.7 × primary + 0.3 × secondary  [slow/very_slow]

impact = totalCarbEquiv × 0.9 × combined

## 2.5  Gamma Distribution Engine  (meal-pharmacodynamics.ts)

Alongside the piecewise curve, a second engine uses a gamma distribution PDF for computing the MOB (Meal on Board) and absorbed fraction:

f(t; k, θ) = t^(k−1) × exp(−t/θ)    [normalised to 100% at peak]

The absorbed fraction is obtained by numerical integration (100 steps) from t=0 to the current time, normalised against total area under the curve:

absorbedFraction = ∫₀ᵗ activity(τ) dτ  /  ∫₀ᵈᵘʳᵃᵗⁱᵒⁿ activity(τ) dτ

Each absorption profile carries gamma parameters:

- shapeParam (k) — controls curve peakedness

- scaleParam (θ) — controls curve width

- onsetHours, peakHours, durationHours — timing anchors

## 2.6  BG Impact Calculation

The absorbed carb load is converted to a blood glucose change via a linear factor:

bgImpact [mg/dL] = absorbedCarbs × carb_to_bg_factor

carb_to_bg_factor (default 4.0 mg/dL per gram of carb-equivalent) is patient-configurable. It encodes glucose distribution volume and insulin-independent uptake in a single scalar.

## 2.7  Cumulative Bank-Balance Model  (blood-glucose-estimation.ts)

The core estimation architecture is a daily reset "bank balance" of cumulative effects:

### Phase 1 — Pre-absorption

No effect counted (meal or dose is in the future relative to currentTime).

### Phase 2 — Active Absorption

Effect grows as absorbed fraction increases using the gamma integration:

mealEffect(t) = totalCarbEquiv × absorbedFraction(t) × carb_to_bg_factor

insulinEffect(t) = −dose × (1 − IOB_fraction(t)) × correction_factor

### Phase 3 — Persist at 100%

Once absorption completes, the full effect is held constant until the next daily reset. This is the key mechanism matching the backend pharmacodynamics.py behaviour:

mealEffect   = totalCarbEquiv × carb_to_bg_factor        [persisted]

insulinEffect = −dose × correction_factor                [persisted]

### Daily Reset

At the configurable reset hour (default 07:00 patient local time), all cumulative effects are zeroed. Only events after the last reset are counted.

The estimated BG is assembled as:

estimatedBG = stableBaseline + cumulativeNetBaseline

cumulativeNetBaseline = cumulativeMealEffect + cumulativeInsulinEffect

## 2.8  Safety Classification

A rule-based safety status is derived from estimatedBG and the current net effect rate:

- critical_low: BG < 54 mg/dL

- critical_high: BG > 250 mg/dL

- hypoglycemia_risk: BG < 70 mg/dL, or BG < 90 and netEffect < −20

- hyperglycemia_risk: BG > 180 mg/dL, or BG > 150 and netEffect > 20

- optimal: |BG − target| < 30 and |netEffect| < 10

- acceptable: all other cases

# 3.  UVA/Padova Reference Model — Meal Subsystem

## 3.1  Background

The UVA/Padova T1D Simulator (S2008 → S2013 → S2017) is the only FDA-accepted substitute for preclinical animal trials for certain insulin treatments. It describes the full glucose-insulin-glucagon system as a set of coupled ordinary differential equations (ODEs) with 30+ physiologically identified parameters per virtual patient.

## 3.2  Gastrointestinal Absorption Subsystem  (Dalla Man et al., 2006)

The stomach is modelled with two compartments — solid (Q_sto1) and liquid (Q_sto2) — plus a single gut (intestine) compartment Q_gut:

dQ_sto1/dt = −k_gri × Q_sto1  +  D × δ(t)

dQ_sto2/dt = −k_empt(Q_sto) × Q_sto2  +  k_gri × Q_sto1

dQ_gut/dt  = −k_abs × Q_gut  +  k_empt(Q_sto) × Q_sto2

Ra(t) = f × k_abs × Q_gut / BW

where D is the carbohydrate dose, k_gri is the solid-to-liquid grinding rate, k_abs is the gut absorption rate, f is the intestinal absorption fraction, and BW is body weight. The gastric emptying rate is a nonlinear function of total stomach content:

k_empt(Q_sto) = k_min + (k_max − k_min)/2 × [tanh(α × (Q_sto − b×D)) − tanh(β × (Q_sto − c×D)) + 2]

This means large meals empty more slowly (physiologically realistic dose-dependent kinetics).

## 3.3  Glucose Kinetics (Two-Compartment)

Glucose is distributed across plasma (G_p) and tissues (G_t):

dG_p/dt = EGP(t) + Ra(t) − U_ii − E − k1×G_p + k2×G_t

dG_t/dt = −U_id(t) + k1×G_p − k2×G_t

G [mg/dL] = G_p / V_G

EGP (endogenous glucose production) is a hepatic regulatory term. U_ii is insulin-independent utilization (brain, RBC — constant). U_id is insulin-dependent utilization (nonlinear, Michaelis-Menten in tissues).

## 3.4  Insulin Action (Remote Compartment)

Insulin effect on glucose utilization is mediated via a remote compartment X(t) (interstitial insulin):

dX/dt = −p2U × X + p2U × (I − Ib)

U_id(t) = (Vmx + ΔVmx) × G_t / (Km + G_t) × X(t)/X_b

This introduces a physiological delay between plasma insulin and peripheral glucose uptake.

## 3.5  Endogenous Glucose Production (EGP)

EGP(t) = max(0, kp1 − kp2×G_p − kp3×I_d − kp4×I_po)

Portal insulin (I_po) suppresses hepatic glucose release. This is absent from NATIVE.

## 3.6  S2017 Extensions

- Time-varying insulin sensitivity: kp3 and Vmx vary by time-of-day, capturing circadian SI patterns (breakfast resistance, post-lunch sensitivity).

- Dawn phenomenon: kp1 and kir are time-varying to reproduce fasting hyperglycemia.

- Improved subcutaneous insulin PK: two-compartment SC model for fast-acting analogs.

- Glucagon kinetics and counterregulation: alpha-cell model with static and dynamic secretion.

# 4.  Similarities and Differences

## 4.1  High-Level Comparison Matrix

| Aspect | NATIVE (Current) | UVA/Padova Reference | Gap / Alignment |
| --- | --- | --- | --- |
| Meal input | total_carb_equiv (carbs + protein×0.5 + fat×0.2 − fiber×0.1) | D = total carbohydrate dose [mg]; protein/fat not in base model | ⚠️ |
| Absorption timing | 5 discrete profiles (very_fast → very_slow) with onset/peak/duration | Continuous ODE k_empt function; single parametrised curve per patient | ⚠️ |
| Dose-dependent emptying | No — flat modifier per absorption type | Yes — k_empt is nonlinear sigmoid of stomach content | ⚠️ |
| Curve shape | Piecewise: sigmoid rise + plateau + dual-exponential fall | Gamma PDF–shaped Ra(t) arising from ODE transit model | ⚠️ |
| Gamma distribution (MOB) | Yes — calcMealAbsorbedFraction uses gamma PDF integration | Ra curve is gamma-like; not analytically parameterised as gamma | ✅ |
| BG impact factor | Linear: bgImpact = absorbedCarbs × carb_to_bg_factor | Linear at tissue level via Vmx×G_t/(Km+G_t); simplified as linear for small perturbations | ✅ |
| Two-compartment glucose | No — single effective BG value | Yes — G_p (plasma) and G_t (tissue) compartments | ⚠️ |
| EGP modeling | No — implicit in baseline BG reading | Yes — explicit hepatic ODE suppressed by insulin | ⚠️ |
| Insulin effect delay | IOB fraction (empirical PK decay) | Remote insulin compartment X(t) with rate p2U | ⚠️ |
| Protein/fat modeling | Yes — explicit carb-equivalent conversion (NATIVE extension) | No — base model CHO only; composition studied in S2017 research | ✅ |
| Meal timing factors | Static per-meal-type scalar (breakfast 1.0, dinner 1.0 etc.) | Time-varying SI in S2017 (circadian kp3/Vmx) | ⚠️ |
| Cumulative bank balance | Yes — daily-reset accumulator with persist-at-100% | No — ODE state is always current; no explicit accumulator | ⚠️ |
| Patient individuation | 8–10 constants (ICR, CF, carb_to_bg_factor, etc.) | 30+ ODE parameters per virtual patient (fitted from triple-tracer data) | ⚠️ |
| Stacked meal effects | Yes — calculateStackedMealEffect aggregates per-meal gamma curves | Yes — ODE naturally superposes Ra(t) from multiple meals | ✅ |
| Safety classification | Rule-based thresholds on estimatedBG + netEffect | Not part of simulator; left to controller layer | ✅ |

Legend: ✅ = Similar approach or deliberate extension    ⚠️ = Gap requiring alignment effort

## 4.2  Key Similarities

- Absorption shape — Both approaches produce a gamma-like absorption curve peaking between 1–4 hours post-meal. NATIVE's gamma PDF engine (meal-pharmacodynamics.ts) is conceptually equivalent to the Ra(t) shape emerging from the UVA/Padova ODE chain.

- Linear BG sensitivity — For small perturbations, both models apply an effective linear factor mapping absorbed glucose to BG elevation (NATIVE's carb_to_bg_factor; UVA/Padova's Vmx/V_G approximation in the linear regime).

- Stacked meals — Both handle multiple concurrent meals by superposition, which is physiologically correct when effects do not saturate glucose transporters.

- Protein and fat (extension) — NATIVE's carb-equivalent approach for protein and fat is actually ahead of the base UVA/Padova model, which is CHO-only. This is a clinically motivated addition consistent with research directions in S2017.

- Insulin on board — Both track remaining insulin effect over time, though via different mechanisms (IOB fraction vs. remote compartment ODE).

## 4.3  Key Differences

- GI physiology — UVA/Padova explicitly models gastric emptying as a nonlinear function of stomach content. NATIVE uses fixed timing parameters per absorption type, missing the dose-dependency that makes large meals empty more slowly.

- Compartment model — UVA/Padova separates plasma glucose (G_p) and tissue glucose (G_t), critical for modelling the post-meal tissue uptake delay. NATIVE uses a single effective BG value.

- Endogenous glucose production — NATIVE does not model EGP. In clinical practice this is partially compensated by the daily reset baseline, but hepatic glucose release during hypoglycemia and overnight fasting is unmodeled.

- Insulin effect compartment — UVA/Padova's remote compartment X(t) introduces a biologically grounded delay between plasma insulin and peripheral glucose utilization. NATIVE's IOB fraction empirically approximates this but without the physiological mechanism.

- Cumulative bank balance — NATIVE's daily-reset accumulator is an engineering construct with no analogue in UVA/Padova. The ODE always represents instantaneous state. The bank balance is appropriate for a clinical decision-support context but should be validated against clinical data.

# 5.  Component Gap Analysis

| Component | UVA/Padova Approach | NATIVE Gap / Difference |
| --- | --- | --- |
| GI transit subsystem | UVA/Padova uses a 2-compartment stomach (solid + liquid) plus gut ODE. Rate of appearance (Ra) enters plasma dynamically. | NATIVE replaces the full ODE chain with a single piecewise curve parameterised by absorption type. No explicit GI compartments. |
| Gastric emptying nonlinearity | Emptying rate k_empt is a nonlinear sigmoid function of stomach carb load — larger meals empty more slowly. | NATIVE applies a flat absorption modifier per macronutrient category. No dose-dependent emptying kinetics. |
| Endogenous glucose production (EGP) | EGP is modeled explicitly as a function of portal insulin and glucose (hepatic regulation). | NATIVE does not model EGP. Baseline glucose is set by the last BG reading and the "bank balance." |
| Insulin-independent utilization | Constant glucose uptake by brain & RBC is an explicit ODE term (Fcns). | Not modeled explicitly; captured implicitly in target_glucose and correction_factor. |
| Insulin-dependent utilization | Nonlinear remote insulin action via an insulin effect compartment (X(t)), with Michaelis-Menten uptake (Vmx, Km). | Linear correction_factor × IOB approximation. |
| Glucose kinetics (plasma/tissue) | Two glucose compartments: plasma (G_p) and rapidly-equilibrating tissues (G_t), described by ODEs. | Single effective BG value; no tissue compartment. |
| Protein & fat contribution | Original UVA/Padova models only carbohydrates. Macronutrient extension is a research area (not in base simulator). | NATIVE explicitly models protein (×0.5) and fat (×0.2) as carb equivalents — a clinical practice improvement. |
| Time-of-day variability | S2017 introduces time-varying insulin sensitivity (breakfast/lunch/dinner circadian pattern). | NATIVE applies static meal_timing_factors per meal type — architecturally similar intent. |
| Patient population | UVA/Padova uses a population of 30+ ODE parameters fitted from clinical triple-tracer studies. | NATIVE uses 8–10 patient constants (ICR, correction factor, carb_to_bg_factor, absorption modifiers, etc.). |
| Cumulative "bank balance" | Not present in UVA/Padova (continuous ODE state). Glucose is always current state of the ODE system. | NATIVE's key architectural construct: accumulates absorbed carb BG elevation from daily reset, persisting at 100% post-absorption. |

# 6.  Alignment Roadmap

The following table proposes concrete implementation paths for each UVA/Padova mechanism, ordered by physiological impact:

| Alignment Target | UVA/Padova Mechanism | NATIVE Implementation Path |
| --- | --- | --- |
| GI Transit ODE | Adopt the Dalla Man 2006 two-compartment stomach + gut model with nonlinear k_empt. Compute Ra(t) as the gut-to-plasma rate. | Replace the piecewise absorption curve in meal-impact-curves.ts with the ODE integration. Retain absorption types as initial parameter sets. |
| Dose-dependent emptying | Add sigmoid k_empt(Q_sto) that slows for larger carb loads (>50 g CHO). | Add a mealSizeEmptyingFactor computed from total_carb_equiv and apply it to onset/peak timing. |
| Glucose kinetics 2-compartment | Add a tissue glucose compartment G_t with transfer rate k1/k2. BG estimate comes from G_p, not a simple sum. | Extend blood-glucose-estimation.ts with a lightweight 2-compartment Euler integration over 5-min steps. |
| EGP suppression model | Add a hepatic EGP term that decreases with portal insulin (kp1 − kp2×G_p − kp3×I_d). | Approximate as a basal_egp constant reduced by a fraction of IOB — minimal viable EGP without full ODE. |
| Protein & fat (extend UVA/Padova) | UVA/Padova does not natively model protein/fat. NATIVE's carb-equivalent approach is a valid clinical extension. | Document as a deliberate extension. Validate protein_factor and fat_factor against literature (GNG rates). |
| Insulin effect compartment | Add remote insulin action X(t) with rate constants ka1/ka2 to model delayed insulin effect. | Replace the linear IOB×CF approximation with a two-compartment insulin PD model (already possible with existing insulin profiles). |
| Time-varying SI | Model circadian insulin sensitivity shifts per S2017 (kp3, Vmx as time-of-day functions). | Extend meal_timing_factors to be hour-of-day lookup tables fitted to individual patient CGM data. |

Priority recommendation: items 1 (GI Transit ODE) and 3 (Two-compartment glucose kinetics) have the largest impact on accuracy for mixed-composition meals and should be addressed first. Item 5 (protein/fat) represents a deliberate NATIVE extension that should be validated and published as a platform contribution.

# 7.  NATIVE → UVA/Padova Parameter Correspondence

| NATIVE Parameter | UVA/Padova Analogue | Notes |
| --- | --- | --- |
| carb_to_bg_factor (4.0 mg/dL/g) | Vmx × V_G (effective) | Linear approximation of nonlinear tissue uptake in small-perturbation regime |
| correction_factor (40 mg/dL/U) | Vmx × CF combination | NATIVE collapses insulin sensitivity into a single scalar |
| insulin_to_carb_ratio | Carbohydrate-to-insulin ratio (CR) | Direct conceptual equivalent; UVA/Padova provides time-varying CR in S2017 |
| absorption_modifiers {very_fast: 1.4, …} | k_abs patient parameter | NATIVE uses discrete categories; UVA/Padova uses continuous k_abs |
| protein_factor (0.5) | Not present in base model | NATIVE extension: GNG rate for protein |
| fat_factor (0.2) | Not present in base model | NATIVE extension: glycerol conversion rate for fat |
| daily_reset_hour (7) | No analogue (ODE state) | Engineering construct for daily accumulation window |
| meal_timing_factors | Time-varying kp3, Vmx in S2017 | NATIVE uses static scalars; S2017 uses continuous circadian functions |
| target_glucose (100 mg/dL) | G_b (basal glucose from fasting ODE) | UVA/Padova derives basal state from ODE equilibrium |

# 8.  Conclusion

NATIVE's meal BG effect model is a well-structured engineering approximation of the UVA/Padova physiological framework. Its primary strengths are:

- Practical clinical coverage — five absorption types with macronutrient-equivalent inputs cover the real-world meal diversity that the UVA/Padova CHO-only model does not.

- Gamma-based absorption — the meal-pharmacodynamics.ts gamma PDF integration is the closest available approximation to the ODE-derived Ra(t) shape without requiring full ODE integration.

- Stacking and cumulative tracking — the bank-balance model with persist-at-100% and daily reset gives clinically interpretable state without ODE complexity.

The primary gaps requiring attention for increased UVA/Padova alignment are:

- Introduce nonlinear dose-dependent gastric emptying (k_empt) for large-meal accuracy.

- Add a lightweight two-compartment glucose kinetics step to capture the plasma/tissue split.

- Model a remote insulin compartment to replace the IOB fraction with a physiologically grounded delay.

- Approximate EGP suppression to handle overnight and fasting scenarios.

These enhancements can be implemented incrementally within the existing TypeScript architecture without requiring a full ODE solver — Euler integration over 5-minute steps is sufficient for the clinical update rates used by the NATIVE platform.

— End of Document —