DiaTwin Research Concept Brief │ TRL 4–5 Personalised Insulin Dosing Through Circadian-Aware Reinforcement Learning

The Problem

Over 8 million people with Type 1 Diabetes (T1D) world-wide rely on insulin pens. Despite widespread CGM adoption, no affordable decision-support tool simultaneously accounts for insulin pharmacodynamics, meal absorption, physical activity, and circadian variation in insulin sensitivity. Static correction ratios (ISF, ICR) prescribed by clinicians cannot adapt to inter- and intra-patient circadian variability, leading to chronic dosing errors, elevated hypoglycaemia risk, and high cognitive burden. A further gap is the absence of an individualised, continuously-updated blood glucose baseline — the anchor from which every dosing recommendation is calculated.

How It Works — The Contextual Dosing Pipeline

| Icon | Module | Description |
| --- | --- | --- |
| 📷 | Meal photo → carbs | Camera-based food recognition extracts macronutrients and assigns an absorption profile (very fast → very slow) automatically. Carb-equivalent load computed as carbs + 0.5×protein + 0.2×fat, consistent with the UVA/Padova S2008 GI subsystem (Dalla Man et al., 2006; 2014). |
| 🍽 | PK/PD modelling | IOB and MOB modelled via gamma-distribution curves referenced to the German S3 Guideline (AWMF 057-013, Table 9). Five absorption profiles from very slow to very fast; cumulative daily effects and predictive peak-overlap stacking included. Phase 3 persist-at-100% ensures fully-absorbed events continue to contribute to the cumulative ledger until the daily reset. |
| 💓 | HR + Activity ODE | Wearable HR stream (real-time or end-of-day upload with swim-lane auto-segmentation) feeds a Y/Z/W ODE system: Y low-pass filters HR above resting; Z models acute insulin-independent GLUT4 uptake (IIRd, τ = 10 min); W integrates exercise load driving a prolonged ISF/ICR sensitivity multiplier capped at +60 % (IDRd, τ = 90 min). Categorical fallback synthesises HR from resting/max HR when no wearable is available. Activity-on-Board (AOB) tracked in real time (Dalla Man, Breton & Cobelli, 2009). The baseline system automatically applies the exercise-enhanced correction factor during post-exercise windows (sensitivityMultiplier > 1.005) to both the dynamic unwind and current-time estimates. |
| 📡 | CGM integration | Abbott LibreLinkUp auto-sync (4-min scheduler, 10+ regions, Fernet-encrypted credentials) fuses continuous sensor readings with SMBG on a unified timeline, feeding the Dynamic Baseline Estimator with fresh readings every ~5 minutes. Dexcom integration planned. |
| 📈 | Dual Baseline Estimator | Two mutually exclusive, clinically-appropriate modes anchor every BG estimate: 🔵 Dynamic Mode (default, CGM / frequent SMBG): Reverse-engineers the stable fasting baseline from the most recent BG reading by unwinding cumulative PK/PD effects active at the exact moment of measurement: stableBaseline = reading − Σmeal_at_reading + Σinsulin_at_reading Grounded in the Bergman Minimal Model and UVA/Padova glucose inversion (Kovatchev et al., 2009). Physiological clamping enforces [55, 220] mg/dL bounds; a pre-clamp value is retained for transparent UI display. In post-exercise windows, the heightened effective correction factor (from the Y/Z/W ODE) is applied to the unwind so the baseline reflects the patient's actual insulin sensitivity at reading time. 🟢 Preset Mode (circadian profile, CGM-less / irregular logging): Uses a clinically-modelled 24-hour circadian profile encoding overnight nadir (~85 mg/dL at 3–5 AM), dawn phenomenon rise (4–8 AM), morning plateau (~103–105 mg/dL), and evening taper. Linear interpolation between hourly anchors; patient-specific override stored in PatientConstants. A reading-residual correction anchors the population profile to the individual: readingResidual = reading − circadianProfile(readingHour) − Σnet_at_reading Both modes share an identical bank-balance cumulative engine: estimatedBG = stableBaseline + (Σmeal_now − Σinsulin_now) + activityDeltaSinceReading [+ readingResidual] Activity double-counting is eliminated by computing only the post-reading exercise delta, not the full session cumulative. All calculations are 100% on-device; no backend inference call is issued. |
| 💉 | Dose + insulin type | Suggested units (0.1 u rounding, 0.5 u safety floor) plus appropriate insulin analogue (rapid vs standard) matched to the meal's absorption profile and current IOB, MOB, and AOB. Correction component accounts for the activity-adjusted effective ISF when the sensitivityMultiplier is elevated. |
| 🤖 | Clinician-guided personalisation | All meal–insulin–activity–outcome tuples logged and visible to supervising clinicians for ISF/ICR review. Full RL-driven automated parameter refinement per 2-hour circadian block (ISFₜ, ICRₜ) planned for the next phase, with Q-learning operating on a 24-hour temporal basis. |

Dual Baseline System — Technical Deep-Dive

The Dual Baseline Estimator is the numerical core of DiaTwin's glucose estimation engine. It provides the stable fasting BG anchor — called stableBaseline — from which every pharmacodynamic calculation propagates. Without an accurate baseline, every downstream figure (estimated BG, projected final BG, safety status, trend) drifts proportionally. The system is implemented entirely on-device in the ActiveEffectsDisplay component, recalculating every 60 seconds and on pull-to-refresh.

## Bank-Balance BG Model

All three modes share a common bank-balance formula applied after the baseline is established:

estimatedBG = stableBaseline + cumulativeNetBaseline + activityDeltaSinceReading  [+ readingResidual — preset mode only]

cumulativeNetBaseline is Σmeal_now − Σinsulin_now evaluated at the current time using Phase 3 persist-at-100% pharmacokinetics (fully-absorbed events hold their maximum contribution until the next daily reset). activityDeltaSinceReading is the exercise BG effect that occurred after the most recent reading, preventing double-counting of pre-reading exercise that is already baked into the reading value.

## Dynamic vs Preset Mode Comparison

| Aspect | 🔵 Dynamic Mode | 🟢 Preset Mode |
| --- | --- | --- |
| Baseline source | Reverse-engineered from most recent BG reading | 24-hour circadian profile (population + custom anchors) |
| Best suited for | CGM users; frequent finger-stick checkers; post-exercise periods | CGM-less sessions; irregular loggers; testing & clinical validation |
| Circadian encoding | Implicit — captured in each reading's actual value | Explicit — overnight nadir, dawn phenomenon, morning plateau, evening taper |
| Individual adaptation | Continuous — every new reading recalibrates the baseline | Reading residual added at current time; custom anchor override by clinician |
| Safety bounds | [55, 220] mg/dL hard clamp; pre-clamp value retained for display | Profile is clinically bounded; no clamping required |
| Post-exercise correction | Effective CF override applied to the unwind when sensitivityMultiplier > 1.005 | Not applied — sensitivity not unwound from circadian profile |
| No-reading fallback | Falls back to target_glucose; usingTargetFallback flag shown in UI | Profile always available; no fallback needed |

## Safety & Transparency Mechanisms

- Hard physiological clamp: [55, 220] mg/dL — pre-clamp raw value retained and displayed in orange banner with likely-cause attribution (unlogged insulin / unlogged meal).

- Soft low-baseline warning (55–74 mg/dL): amber banner listing three likely causes and prompting log review.

- Estimation-unreliable banner (< 10 mg/dL): replaces the BG strip with an interactive checklist showing live ✓/✗ status for meals, doses, and BG readings.

- Activity–reading overlap warning: inline amber text when the most recent reading was taken inside an active exercise PD window.

- Target-glucose fallback: when no reading is available in dynamic mode, stableBaseline = target_glucose; usingTargetFallback flag surfaces in the UI.

## Mode Selection Logic

Mode is controlled by the baseline_mode field on PatientConstants (server-stored, persists across sessions):

| Situation | Recommended Mode |
| --- | --- |
| CGM user or frequent finger-stick checker | Dynamic — each reading recalibrates the baseline |
| Post-exercise window active | Dynamic — effective CF override applies to the unwind |
| CGM-less or irregular logger | Preset — avoids stale-reading drift |
| Patient deviates from population average | Preset with custom circadian_profile anchors set by clinician |
| Testing / development | Preset — stable numbers without requiring real data |

ActiveEffectsDisplay — Patient-Facing Features

ActiveEffectsDisplay is the primary real-time glucose management panel in DiaTwin. It synthesises every logged data source — meals, insulin doses, BG readings, and exercise sessions — into a single continuously-updated view, and is the sole UI consumer of the dual-baseline system described above.

| UI Panel / Feature | Patient-Facing Description |
| --- | --- |
| Three-card BG strip | Last Reading → Estimated Now → Projected Final BG. Directional arrows with signed deltas between cards. Full formula strip revealed on expand (baseline + Δnow + Δact = estimate). Replaced by unreliable-estimate banner if computed BG < 10 mg/dL. |
| Insulin On Board (IOB) | Total active insulin units, pending BG reduction (still to arrive), absorbed BG reduction (already delivered). Per-dose breakdown with status pills (Active / Absorbed / Future). Effective CF auto-scaled when post-exercise sensitivity is elevated. |
| Meal On Board (MOB) | Active carbs still digesting, pending BG rise vs absorbed elevation. Per-meal breakdown: absorption type, carb count, BG effect absorbed vs pending. |
| Activity On Board (AOB) | Remaining acute BG drop from exercise. Sensitivity multiplier, effective ISF & CR. Per-session breakdown with teal-highlighted BG effect lines. Only displayed when valid activity PD data is present. |
| Net Effect card | Cumulative meal vs insulin BG displacement, net baseline, qualitative trend (rising fast / stable / falling fast), colour-coded safety status (NORMAL / CAUTION / ALERT). |
| Baseline Details card | Mode badge (🔵 Dynamic / 🟢 Preset), derived baseline value, reading age, meals/insulin count at reading time, pre-clamp value. Preset fields: circadian value at reading hour, net PK at reading, reading residual. |
| Safety banners | Baseline Capped (hard clamp, orange) — shows raw vs clamped + likely cause. Low Baseline Detected (soft warning, amber, 55–74 mg/dL). Estimation Unreliable (< 10 mg/dL) — interactive checklist for meals, doses, and BG readings with live ✓/✗ indicators. |
| Activity–Reading overlap warning | Amber italic warning when most recent reading was taken inside an active exercise PD window; alerts that activityDeltaSinceReading may partially double-count exercise impact. |
| Daily reset countdown | Shown in IOB absorbed state and net effect footer: Xh Ym to next reset. Tells patients when today's fully-absorbed events clear from the PK ledger. |
| Auto-refresh & pull-to-refresh | 60-second polling aligned to wall-clock minute boundary. React Native RefreshControl for immediate on-demand recalculation after logging a new meal, dose, or reading. |

What Sets DiaTwin Apart

| Differentiator | Detail |
| --- | --- |
| Photo-to-dose | Camera → carb estimate → insulin suggestion. No manual entry. |
| Full context window | Meals, doses, wearable activity, and BG all feed every recommendation. |
| Dual Baseline Estimator | Dynamic mode back-calculates a personalised fasting BG anchor from each reading; Preset mode uses a circadian profile with reading-residual patient correction — automatically selected per patient profile and logging behaviour. |
| Circadian ISF/ICR adaptation | Time-of-day parameter personalisation via RL — absent from all current pen-user tools. |
| Wearable HR → ODE pharmacodynamics | Live or end-of-day HR drives the Y/Z/W engine; auto-segmentation converts continuous HR to discrete exercise sessions. Post-exercise sensitivity multiplier propagates into the baseline unwind. |
| CGM → closed feedback loop | LibreLinkUp fusion keeps the glucose baseline current, reducing estimation error between SMBG readings. Fresh readings every ~5 min drive the dynamic baseline recalibration. |
| RL from longitudinal outcomes | Engine pre-trained on 50,000+ meal-outcome pairs; stress-tested on AZT1D dataset (25 T1D patients, CGM + bolus + carb data). |
| No pump required | Operates with standard insulin pens and finger-prick or CGM data. SMBG-only mode for limited-resource settings. |

Current Status & Credentials

| Area | Detail |
| --- | --- |
| Prototype | Live web app + Android app — deployable, demo-ready (dia-twin.vercel.app). Doctor login: doctor/4444 │ Patient: ahmed/4444 |
| Academic | M.Sc. Digital Health, DIT Germany — grade 1.6 (Excellent, 2025); B.Sc. Pharmacy, Zagazig University (1.5 — Excellent, 2019). |
| Licence | German Pharmacist Licence (Berufserlaubnis §11 BApO, Upper Bavaria 2025); Fachsprachenprüfung passed (Bavarian Chamber of Pharmacists). |
| Clinical advisory | Prof. Dr. Klaus Parhofer (LMU Munich, Medizinische Klinik IV) — thesis supervisor, clinical utility assessor. Prof. Dr. Katarina Braune (HPI Potsdam / Charité) — prospective PhD supervisor. |
| Training data | RL engine pre-trained on 50,000+ real meal–outcome pairs; out-of-sample stress-tested against the AZT1D dataset (25 T1D patients, CGM + bolus + carbohydrate data spanning pen-based MDI and automated insulin delivery therapy periods). |
| Clinical informatics | Senior Clinical Data Specialist, Egypt Healthcare Authority (2021–2023): national EHR rollout, HL7-FHIR R4, ICD-10, SNOMED CT, 500+ staff trained. |

Proposed Research & Collaboration

Seeking a PhD supervision context to design and execute a prospective, randomised, open-label Pilot RCT (N = 100, 6 months) — Arm A: DiaTwin with RL-derived circadian parameter adaptation (ISFₜ, ICRₜ updated weekly); Arm B: standard-of-care pen dosing with static clinician-set parameters.

Primary endpoint: Time-in-Range (70–180 mg/dL) at 12 and 24 weeks.

Secondary endpoints: Hypoglycaemia frequency, HbA1c, time-below-range, cognitive burden (CGI-S adapted).

Baseline system sub-study: Comparative accuracy of dynamic vs preset mode against gold-standard CGM continuous readings across circadian blocks — enabling prospective validation of the bimodal estimator against a continuous BG truth reference.

Open to discussion on supervision, clinical trial infrastructure, and grant co-development.

Key References

Dalla Man C, Raimondo DM, Rizza RA, Cobelli C. GIM, Simulation Software of Meal Glucose-Insulin Model. J Diabetes Sci Technol. 2007.

Dalla Man C et al. Meal Simulation Model of the Glucose-Insulin System. IEEE Trans Biomed Eng. 2014.

Dalla Man C, Breton MD, Cobelli C. Physical Activity into the Meal Glucose-Insulin Model of Type 1 Diabetes. Diabetes Technol Ther. 2009.

Kovatchev BP et al. Evaluating the accuracy of continuous glucose monitoring sensors. Diabetes Care. 2009.

AWMF S3-Leitlinie Therapie des Typ-1-Diabetes, Register-Nr. 057-013, Table 9 — Insulin action profiles.

Ali Attia M.Sc. Digital Health │ German Pharmacist (§11 BApO) │ aliattia2@gmail.com dia-twin.vercel.app │ linkedin.com/in/ali-attia-74748bb4 │ github.com/aliattia2